## Slide 1
6th International Conference on
Ideas, Innovations, Impact in Science & Technology
(ICIIST 2023)
3rd and 4th May 2023
Solar Based Peltier Refrigerator
Paper ID #. ….......
Dhananjay Shelke, Mayur Shelke, Tejas Kokane, Nishant Chougule
Department of Mechanical, SKNCOE, SPPU, Pune
dhananjayshelke.skncoe.mech@gmail.com

## Slide 2
Introduction
Related Works
Problem Definition
Proposed Methodology
Results & Discussions
Conclusion
Future Scope
References
1

## Slide 3: Introduction
A fridge, a freezer, a solar-powered wonder child called the Peltier Refrigerator .
The Peltier Refrigerator is a portable, self-sustaining, solar-powered, collapsible refrigerator and freezer that can go anywhere.
A developed model of commercial thermoelectric refrigerators with finned heat exchanger is established.
The TEC cooler will utilize the power from the PV (photo-voltaic) panels to charge the battery and use a power from battery to maintain the temperature in the cooler box.
2

## Slide 4: Related Works
Peltier Devices (TEC1-12706) generates cooling effect on inner side and heat is distributed on outer side.
On the hot side of the Peltier device, heat sink along with cooling fan on both sides works to dissipate the heat from the peltier unit.
The peltier module is arranged in proper insulation box and heat sink for get sufficient cooling effect. The cooling effect is created by the Peltier module is automatically sensed by Temperature sensor placed near the cooling side of the peltier device, and then the cooling rate along with humidity is digitally shown on the screen of Digital-meter.
The battery of 12V DC 17 Ah is used to supply power to cooling fans and peltier device. To turn OFF the refrigerator, the switch can be turned off, which stops the refrigerator.
3

## Slide 5: Problem Definition
In the recent years, we have many problem such as energy crises and environment degradation due to the increasing CO2 emission and ozone layer depletion has become the primarily concern to both developed and developing countries.
Our paper utilizes the solar energy for its operation. Solar refrigeration using thermoelectric module is going to be one of the most cost effective, clean and environment friendly system.
This paper does not need any kind of refrigerant and mechanical device like compressor, prime mover, etc for its operation.
The main purpose of this project is to provide refrigeration to the remote areas where power supply is not possible.
4

## Slide 6: Proposed Methodology
A typical thermoelectric module is composed of two ceramic substrates that serve as a foundation and electrical insulation for P-type and N-type Bismuth Telluride dice that are connected electrically in series and thermally in parallel between the ceramics.
The current treats the P-type material as a hot junction needing to be cooled and the N-type as a cold junction needing to be heated.
Since the material is at the same temperature, the result is that the hot side becomes hotter while the cold side becomes colder.
The direction of the current will determine if a particular die cools down or heat up. In short, reversing the polarity will switch the hot and cold sides.
5

## Slide 7: Results
With the help of this TECs refrigeration system we can get the refrigerating effect without help of compressor.
By comparing with conventional vapor compression cycle, for the same output the TE refrigerator requires less input.
The temperature was varied from [9℃ to 64℃], between the cold and hot side of the model.
The temperature distribution of fin is been observed in which the temperature is decreased from 36ºC to 9ºC .
6

## Slide 8: Conclusion
The lowest temperature reached to 10.6°C for the cooling while the highest temperature was obtained at 64°C for heating.
Using solar based refrigerator as an alternative of using compressor operated refrigerator has many benefits such as saving the environment, cost, and health.
Solar thermoelectric refrigerator is the need to protect the environment as it uses both solar and electrical energy.
It is the boon for the people residing in high temperature zones.
Though it has low COP and high cost but the solution to this problem is the advancement of new techniques, materials, better design, better heat transfer rate which will greatly improve the COP.
7

## Slide 9: Future Scope
Though refrigerator is working successfully to its full capacity, still there are many changes and improvements to be made so that it is more user-friendly and cultivated in nature. Some changes are as follows:
By increasing the number of Peltier modules and keeping the size of refrigerator unchanged and decrease the temperature inside the box.
similar process can be used for heating purpose also , if we add the heating side of the refrigerator chamber inside system.
by increasing the volume of refrigerator the capacity can be varied
efficiency can be increased by choosing better insulation material.
The use of this refrigerator can also implement in Four Wheeler by installing it at the time of manufacturing of vehicle
8

## Slide 10: References
1] International Journal of Engineering (IJE), Volume (5): Issue (1): 2011, Riffat SB. Xiaolima Thermo-electric: A Review of Present and Potential Applications. Applied Thermal Engg. 2003: 23: 913-35.
2] Bansal PK, Martin A, Comparative Study of Vapour Compression, Thermoelectric and Absorption Refrigerator – Rs. Int J Energy Res 2000; 24 (2): 93- 107.
3] En. Wikipedia.org/Thermo Electric Effect.
4] Angrist, S.W., 1971. Direct Energy Conversion (Allyn and Bacon, Inc., Boston, MA,).
5] “Solar Refrigeration Using the Peltier Effect”, by J.C.Swart, School of Electrical Engineering at the Cape Technicon.
6] Madsen, David A. (2004). Print Reading for Engineering and Manufacturing Technology. Delmar
9

## Slide 11: THANK YOU